## Sheet1
parameter | comment | base | high_cost_coal | coal_55mingen | coal_ccgt_0mingen | hydro_low25p | hydro_high25p | nuclear64 | battery15 | battery30 | battery60 | battery60_coalHC | wind10LC | wind20LC | wind30LC | solar10LC | solar20LC | solar30LC | wind30LC_solar30LC | wind120HH | solar1A | solar90deg | wind120HH_solar1A | battery15B25LC | battery15B50LC | battery30B25LC | battery30B50LC | battery60B50LC | battery60B50LC_wind30LC | battery60B50LC_solar30LC | battery60B50LC_wind30LC_solar30LC | battery60B50LC_coalHC | battery60B50LC_wind30LC_coalHC | battery60B50LC_solar30LC_coalHC | battery60B50LC_wind30LC_solar30LC_coalHC | wind30LC_solar30LC_coalHC | coal_55mingen_wind30LC | coal_55mingen_solar30LC | coal_55mingen_wind30LC_solar30LC | load_modD0M0_energyOnly | load_modD50M0_energyOnly | load_modD25M25_energyOnly
scenario_suffix | input | ClcC70m | ChcC70m | ClcC55m | ClcC0m | ClcC70mH-25 | ClcC70mH25 | ClcC70mN64 | ClcC70mB15 | ClcC70mB30 | ClcC70mB60 | ChcC70mB60 | ClcC70mW10lc | ClcC70mW20lc | ClcC70mW30lc | ClcC70mS10lc | ClcC70mS20lc | ClcC70mS30lc | ClcC70mW30lcS30lc | ClcC70mW120 | ClcC70mS1A | ClcC70mS90d | ClcC70mW120S1A | ClcC70mB15B25lc | ClcC70mB15B50lc | ClcC70mB30B25lc | ClcC70mB30B50lc | ClcC70mB60B50lc | ClcC70mB60B50lcW30lc | ClcC70mB60B50lcS30lc | ClcC70mB60B50lcW30lcS30lc | ChcC70mB60B50lc | ChcC70mB60B50lcW30lc | ChcC70mB60B50lcS30lc | ChcC70mB60B50lcW30lcS30lc | ChcC70mW30lcS30lc | ClcC55mW30lc | ClcC55mS30lc | ClcC55mW30lcS30lc | ClcC70mLmod_D0_M0_energyOnly | ClcC70mLmod_D50_M0_energyOnly | ClcC70mLmod_D25_M25_energyOnly
suggested_scenario_suffix |  | ClcC70m | ChcC70m | ClcC55m | ClcC0m | ClcC70mH-25 | ClcC70mH25 | ClcC70mN64 | ClcC70mB15 | ClcC70mB30 | ClcC70mB60 | ChcC70mB60 | ClcC70mW10lc | ClcC70mW20lc | ClcC70mW30lc | ClcC70mS10lc | ClcC70mS20lc | ClcC70mS30lc | ClcC70mW30lcS30lc | ClcC70mW120 | ClcC70mS1A | ClcC70mS90d | ClcC70mW120S1A | ClcC70mB15B25lc | ClcC70mB15B50lc | ClcC70mB30B25lc | ClcC70mB30B50lc | ClcC70mB60B50lc | ClcC70mB60B50lcW30lc | ClcC70mB60B50lcS30lc | ClcC70mB60B50lcW30lcS30lc | ChcC70mB60B50lc | ChcC70mB60B50lcW30lc | ChcC70mB60B50lcS30lc | ChcC70mB60B50lcW30lcS30lc | ChcC70mW30lcS30lc | ClcC55mW30lc | ClcC55mS30lc | ClcC55mW30lcS30lc | ClcC70mLmod_D0_M0_energyOnly | ClcC70mLmod_D50_M0_energyOnly | ClcC70mLmod_D25_M25_energyOnly
economic_dispatch_folder_suffix |  | ClcC70m | ChcC70m | ClcC55m | ClcC0m | ClcC70mH-25 | ClcC70mH25 | ClcC70mN64 | ClcC70mB15 | ClcC70mB30 | ClcC70mB60 | ChcC70mB60 | ClcC70m | ClcC70m | ClcC70m | ClcC70m | ClcC70m | ClcC70m | ClcC70m | ClcC70mW120 | ClcC70mS1A | ClcC70mS90d | ClcC70mW120S1A | ClcC70mB15 | ClcC70mB15 | ClcC70mB30 | ClcC70mB30 | ClcC70mB60 | ClcC70mB60 | ClcC70mB60 | ClcC70mB60 | ChcC70mB60 | ChcC70mB60 | ChcC70mB60 | ChcC70mB60 | ChcC70m | ClcC55m | ClcC55m | ClcC55m | ClcC70mLmod_D0_M0_energyOnly | ClcC70mLmod_D50_M0_energyOnly | ClcC70mLmod_D25_M25_energyOnly
new_conventional_capacity_folder_suffix |  | coallc | coalhc | coallc | coallc | coallcH-25 | coallcH25 | coallcN64 | coallcB15 | coallcB30 | coallcB60 | coalhcB60 | coallc | coallc | coallc | coallc | coallc | coallc | coallc | coallcW120 | coallcS1A | coallcS90d | coallcW120S1A | coallcB15 | coallcB15 | coallcB30 | coallcB30 | coallcB60 | coallcB60 | coallcB60 | coallcB60 | coalhcB60 | coalhcB60 | coalhcB60 | coalhcB60 | coalhc | coallc | coallc | coallc | coallcLmod_D0_M0_energyOnly | coallcLmod_D50_M0_energyOnly | coallcLmod_D25_M25_energyOnly
net_load_folder_suffix |  | coallc | coallc | coallc | coallc | coallcH-25 | coallcH25 | coallcN64 | coallcB15 | coallcB30 | coallcB60 | coalhcB60 | coallc | coallc | coallc | coallc | coallc | coallc | coallc | coallcW120 | coallcS1A | coallcS90d | coallcW120S1A | coallcB15 | coallcB15 | coallcB30 | coallcB30 | coallcB60 | coallcB60 | coallcB60 | coallcB60 | coalhcB60 | coalhcB60 | coalhcB60 | coalhcB60 | coalhc | coallc | coallc | coallc | coallcLmod_D0_M0_energyOnly | coallcLmod_D50_M0_energyOnly | coallcLmod_D25_M25_energyOnly
REvalue_folder_suffix |  | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W120_S0d | W80_S1A | W80_S90d | W120_S1A | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d | W80_S0d
generator_cost_suffix |  | coallc | coalhc | coallc | coallc | coallc | coallc | coallc | coallc | coallc | coallc | coalhc | coallcW10lc | coallcW20lc | coallcW30lc | coallcS10lc | coallcS20lc | coallcS30lc | coallcW30lcS30lc | coallc | coallc | coallc | coallc | coallcB25lc | coallcB50lc | coallcB25lc | coallcB50lc | coallcB50lc | coallcW30lcB50lc | coallcS30lcB50lc | coallcW30lcS30lcB50lc | coalhcB50lc | coalhcW30lcB50lc | coalhcS30lcB50lc | coalhcW30lcS30lcB50lc | coalhcW30lcS30lc | coallcW30lc | coallcS30lc | coallcW30lcS30lc | coallc | coallc | coallc
coal_cost | low, mid, or high. Low is base. | low | high | low | low | low | low | low | low | low | low | high | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | high | high | high | high | high | low | low | low | low | low | low
coal_cost_suffix |  | Clc | Chc | Clc | Clc | Clc | Clc | Clc | Clc | Clc | Clc | Chc | Clc | Clc | Clc | Clc | Clc | Clc | Clc | Clc | Clc | Clc | Clc | Clc | Clc | Clc | Clc | Clc | Clc | Clc | Clc | Chc | Chc | Chc | Chc | Chc | Clc | Clc | Clc | Clc | Clc | Clc
coal_cost_fkey |  | coallc | coalhc | coallc | coallc | coallc | coallc | coallc | coallc | coallc | coallc | coalhc | coallc | coallc | coallc | coallc | coallc | coallc | coallc | coallc | coallc | coallc | coallc | coallc | coallc | coallc | coallc | coallc | coallc | coallc | coallc | coalhc | coalhc | coalhc | coalhc | coalhc | coallc | coallc | coallc | coallc | coallc | coallc
coal_min_gen | percentage, 70p is base | 70 | 70 | 55 | 0 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 55 | 55 | 55 | 70 | 70 | 70
coal_min_gen_suffix |  | C70m | C70m | C55m | C0m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C70m | C55m | C55m | C55m | C70m | C70m | C70m
ccgt_min_gen | percentage, 50p is base | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
ccgt_min_gen_suffix |  |  |  |  | G0m
hydro_energy_mod | percentage, 0 is base, pos or neg direction | 0 | 0 | 0 | 0 | -25 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
hydro_energy_mod_suffix | [5 empty] | H-25 | H25
nuclear_new_cap | GW. 0 is base. 64 GW is India plan | 0 | 0 | 0 | 0 | 0 | 0 | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
nuclear_new_cap_suffix | [7 empty] | N64
battery_cap_gw | gw capacity. 0 is base | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 30 | 60 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 15 | 30 | 30 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0
battery_cap_gw_suffix | [8 empty] | B15 | B30 | B60 | B60 | [11 empty] | B15 | B15 | B30 | B30 | B60 | B60 | B60 | B60 | B60 | B60 | B60 | B60
battery_cap_gw_fkey |  | bat0 | bat0 | bat0 | bat0 | bat0 | bat0 | bat0 | bat15 | bat30 | bat60 | bat60 | bat0 | bat0 | bat0 | bat0 | bat0 | bat0 | bat0 | bat0 | bat0 | bat0 | bat0 | bat15 | bat15 | bat30 | bat30 | bat60 | bat60 | bat60 | bat60 | bat60 | bat60 | bat60 | bat60 | bat0 | bat0 | bat0 | bat0 | bat0 | bat0 | bat0
battery_cost | percentage change | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 50 | 25 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0
battery_cost_direction | low or high | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low
battery_cost_suffix | [23 empty] | B25lc | B50lc | B25lc | B50lc | B50lc | B50lc | B50lc | B50lc | B50lc | B50lc | B50lc | B50lc
battery_cost_fkey |  | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC25 | batteryLC50 | batteryLC25 | batteryLC50 | batteryLC50 | batteryLC50 | batteryLC50 | batteryLC50 | batteryLC50 | batteryLC50 | batteryLC50 | batteryLC50 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0 | batteryLC0
wind_cost | percentage change | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 20 | 30 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 30 | 0 | 30 | 0 | 30 | 30 | 30 | 0 | 30 | 0 | 0 | 0
wind_cost_direction | low or high | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low
wind_cost_suffix | [12 empty] | wind10LC: W10lc; wind20LC: W20lc; wind30LC: W30lc | W30lc | [9 empty] | W30lc |  | W30lc |  | W30lc |  | W30lc | W30lc | W30lc |  | W30lc
wind_cost_fkey |  | windLC0 | windLC0 | windLC0 | windLC0 | windLC0 | windLC0 | windLC0 | windLC0 | windLC0 | windLC0 | windLC0 | windLC10 | windLC20 | windLC30 | windLC0 | windLC0 | windLC0 | windLC30 | windLC0 | windLC0 | windLC0 | windLC0 | windLC0 | windLC0 | windLC0 | windLC0 | windLC0 | windLC30 | windLC0 | windLC30 | windLC0 | windLC30 | windLC0 | windLC30 | windLC30 | windLC30 | windLC0 | windLC30 | windLC0 | windLC0 | windLC0
solar_cost | percentage change | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 20 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 30 | 30 | 30 | 0 | 30 | 30 | 0 | 0 | 0
solar_cost_direction | low or high | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low | low
solar_cost_suffix | [12 empty] | solar10LC: S10lc; solar20LC: S20lc; solar30LC: S30lc | S30lc | [10 empty] | S30lc | S30lc |  |  | S30lc | S30lc | S30lc |  | S30lc | S30lc
solar_cost_fkey |  | solarLC0 | solarLC0 | solarLC0 | solarLC0 | solarLC0 | solarLC0 | solarLC0 | solarLC0 | solarLC0 | solarLC0 | solarLC0 | solarLC0 | solarLC0 | solarLC0 | solarLC10 | solarLC20 | solarLC30 | solarLC30 | solarLC0 | solarLC0 | solarLC0 | solarLC0 | solarLC0 | solarLC0 | solarLC0 | solarLC0 | solarLC0 | solarLC0 | solarLC30 | solarLC30 | solarLC0 | solarLC0 | solarLC30 | solarLC30 | solarLC30 | solarLC0 | solarLC30 | solarLC30 | solarLC0 | solarLC0 | solarLC0
wind_HH | Hub height in meters. 80m is base | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 120 | 80 | 80 | 120 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80
wind_HH_suffix | [19 empty] | W120 |  |  | W120
wind_HH_fkey |  | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W120 | W80 | W80 | W120 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80 | W80
solar_orient | degrees to west 0d, 45d, 90d or 1A for 1 axis tracking | 0d | 0d | 0d | 0d | 0d | 0d | 0d | 0d | 0d | 0d | 0d | [6 empty] | 0d | 0d | 1A | 90d | 1A | 0d | 0d | 0d | 0d | 0d | 0d | 0d | 0d | 0d | 0d | 0d | 0d | 0d | 0d | 0d | 0d | 0d | 0d | 0d | bar: wind10LC to solar30LC
solar_orient_suffix | [20 empty] | S1A | S90d | S1A
solar_orient_fkey |  | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S1A | S90d | S1A | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d | S0d
load_year |  | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014
load_year_suffix
load_modifier | "none", "mod", "mod1". | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | none | mod_D0_M0_energyOnly | mod_D50_M0_energyOnly | mod_D25_M25_energyOnly
load_modified_suffix | [39 empty] | Lmod_D0_M0_energyOnly | Lmod_D50_M0_energyOnly | Lmod_D25_M25_energyOnly
dispatch_horizon | RT or LA. If LA, include days | RT | RT | RT | RT | RT | RT | RT | RT | RT | RT | RT | [6 empty] | RT | RT | RT | RT | RT | RT | RT | RT | RT | RT | RT | RT | RT | RT | RT | RT | RT | RT | RT | RT | RT | RT | RT | RT | bar: wind10LC to solar30LC
LA_days |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
dispatch_time_suffix
Note on A4: Ranjit: For scenarios with different upfront costs like wind, solar, battery, there will be a common econ dispatch suffix.
Note on D6: Ranjit Deshmukh: net load for high cost coal should be same as low cost coal.
Note on M8: Ranjit Deshmukh: I could change this to coallc. Didn't need to run this separately as net load is the same as coallc.