## results_all_scenarios
[25 empty] | Annualized cost (million USD/y) | [5 empty] | 65 |  |  | Cost per RE generation (curtailed) (USD/MWh) USE THESE NUMBERS | [5 empty] | VRE share (with curtailment) | Curtailment | VRE capacity value | Cost per RE generation uncurtailed (USD/MWh) Note - VRE UNCURTAILED | [7 empty] | Total Emissions (million tonnes/year) |  |  | Emissions per unit of generation |  |  | Emissions reduction (%) |  |  | Cost of mitigation (USD/tonne) |  |  | Conventional Gen PLFs |  |  | Share of total generation | [7 empty] | Conventional PLF based on existing capacity
ann_gen_coal_MWh | ann_gen_diesel_MWh | ann_gen_gas_ccgt_MWh | ann_gen_gas_ct_MWh | ann_gen_hydro_MWh | ann_gen_nuclear_MWh | ann_gen_other_MWh | ann_gen_solarPV_MWh | ann_gen_total_MWh | ann_gen_vre_MWh | ann_gen_vre_nocurt_MWh | ann_gen_wind_MWh | capacity_solarPV_MW | capacity_vre_MW | capacity_wind_MW | date_time | dispatch_cost | new_capacity_coal_MW | new_capacity_gas_ccgt_MW | new_capacity_gas_ct_MW | scenario | Rank |  |  |  | new_coal | new_ccgt | new_ct | solarPV | wind | total_fixed | dispatch | total_cost | Difference from S0W0 (-ve is value, +ve is cost) | VRE cost | Capacity value | Energy value | Total value | VRE overall cost | VRE overall cost check |  | VRE curtailment (%) | (Conventional MW avoided) | solar PV | wind | VRE | Capacity value | Energy value | Total value | VRE overall cost | VRE overall cost check | CO2 | SO2 | NOx | CO2 (kg/kWh) | SO2 (g/kWh) | Nox (g/kWh) | CO2 | SO2 | NOx | CO2 | SO2 | NOx | coal | ccgt | ct | coal | ccgt | ct | hydro | nuclear | diesel | other | vre | ccgt | ct
3295897980 | 210849.53 | 26391115.21 | 1569848.8 | 128787887.3 | 30046800 | 0 | 0 | 3482904481 | 0 | 0 | 0 | 0 | 0 | 0 | 2016-11-12 00:53 | 7200000000000 | 368280 | 8750 | 42250 | S0W0 | 1 | high_coal_cost | 0 GW | 0-0 | 133007.6997 | 1314.5336 | 3435.6247 | 0 | 0 | 137757.858 | 110769.2308 | 248527.0888 |  | 0 | [5 empty] | 0 |  | 0 | [8 empty] | 3030.3668 | 0.77208 | 0.70285 | 0.87007 | 0.22168 | 0.2018 | 0% | 0% | 0% | 0 |  |  | 67.42% | 9.815% | 0.4089% | 94.63% | 0.7577% | 0.04507% | 3.698% | 0.8627% | 0.006054% | 0% | 0% | 13.73% | 11.36%
2819788393 | 341506.05 | 25085019.34 | 1576990.23 | 128787887.3 | 30046800 | 111060.96 | 0 | 3482904481 | 477166824.6 | 477166824.6 | 477166824.6 | 0 | 200005 | 200005 | 2016-11-12 03:16 | 6050000000000 | 312180 | 20750 | 76750 | S0W200 | 2 | high_coal_cost | 200 GW | 0-100 | 112746.6701 | 3117.3226 | 6241.0461 | 0 | 35785.3777 | 157890.4165 | 93076.9231 | 250967.3396 | 2440.2508 | 74.9955 | 32.8037 | 37.0778 | 69.8815 | 5.114 | 5.114 | 13.7% | 0% | 4.8% |  | 74.9955 | 74.9955 | 32.8037 | 37.0778 | 69.8815 | 5.114 | 5.114 | 2593.9518 | 0.66056 | 0.60143 | 0.74477 | 0.18966 | 0.17268 | 14.4% | 14.45% | 14.43% | 5.5916 | 21879.8484 | 24060.1803 | 64.13% | 6.707% | 0.2298% | 80.96% | 0.7202% | 0.04528% | 3.698% | 0.8627% | 0.009805% | 0.003189% | 13.7% | 13.05% | 11.41%
2841978340 | 430887.62 | 25035410.73 | 1733041.07 | 128787887.3 | 30046800 | 70346.76 | 87844246.67 | 3482904481 | 454821767.9 | 454821768 | 366977521.2 | 50015 | 200025 | 150010 | 2016-11-12 05:36 | 6100000000000 | 306900 | 19250 | 74600 | S50W150 | 3 | high_coal_cost | 200 GW | 25-75 | 110839.7497 | 2891.974 | 6066.2155 | 7278.2026 | 26840.1516 | 153916.2934 | 93846.1538 | 247762.4472 | -764.6416 | 75.0148 | 39.4878 | 37.2082 | 76.696 | -1.6812 | -1.6812 | 13.06% | 2.199e-08% | 9.264% |  |  | 75.0148 | 39.4878 | 37.2082 | 76.696 | -1.6812 | -1.6812 | 2614.4223 | 0.66575 | 0.60618 | 0.75064 | 0.19115 | 0.17404 | 13.73% | 13.77% | 13.75% | -1.8383 | -7191.112 | -7909.7463 | 65.32% | 6.938% | 0.2597% | 81.6% | 0.7188% | 0.04976% | 3.698% | 0.8627% | 0.01237% | 0.00202% | 13.06% | 13.02% | 12.54%
2865384046 | 587429.29 | 28880519.62 | 1926862.58 | 128787887.3 | 30046800 | 73094.45 | 175038224 | 3482904481 | 427217841.4 | 427217841.3 | 252179617.3 | 100079 | 200102 | 100023 | 2016-11-12 08:01 | 6180000000000 | 305580 | 22500 | 75800 | S100W100 | 4 | high_coal_cost | 200 GW | 50-50 | 110363.0196 | 3380.2293 | 6163.7953 | 14563.5358 | 17896.3568 | 152366.9368 | 95076.9231 | 247443.8599 | -1083.2289 | 75.9797 | 41.7839 | 36.7314 | 78.5153 | -2.5355 | -2.5355 | 12.27% | -2.341e-08% | 7.696% |  |  | 75.9797 | 41.7839 | 36.7314 | 78.5153 | -2.5355 | -2.5355 | 2637.7279 | 0.67124 | 0.6113 | 0.75734 | 0.19272 | 0.17551 | 12.96% | 13.06% | 13.03% | -2.7588 | -10741.4472 | -11832.0141 | 66.04% | 7.418% | 0.2843% | 82.27% | 0.8292% | 0.05532% | 3.698% | 0.8627% | 0.01687% | 0.002099% | 12.27% | 15.02% | 13.94%
2898538015 | 658215.51 | 30067173.57 | 1833998.68 | 128787887.3 | 30046800 | 26830.67 | 261665558.2 | 3482904481 | 392945560.4 | 392945560.5 | 131280002.5 | 150010 | 200039 | 50029 | 2016-11-12 10:17 | 6280000000000 | 316140 | 23750 | 68150 | S150W50 | 5 | high_coal_cost | 200 GW | 75-25 | 114176.8605 | 3568.0199 | 5541.7236 | 21829.5147 | 8951.3095 | 154067.4282 | 96615.3846 | 250682.8128 | 2155.7241 | 78.3336 | 36.8276 | 36.0199 | 72.8475 | 5.4861 | 5.4861 | 11.28% | 2.545e-08% | 5.619% |  |  | 78.3336 | 36.8276 | 36.0199 | 72.8475 | 5.4861 | 5.4861 | 2668.587 | 0.67901 | 0.61838 | 0.7662 | 0.19495 | 0.17755 | 11.94% | 12.06% | 12.02% | 5.9587 | 23160.2455 | 25518.8578 | 65.41% | 7.512% | 0.3003% | 83.22% | 0.8633% | 0.05266% | 3.698% | 0.8627% | 0.0189% | 0.0007704% | 11.28% | 15.64% | 13.27%
2942559881 | 827920.02 | 30855541.15 | 1800755.96 | 128787887.3 | 30046800 | 18146.64 | 348007549.4 | 3482904481 | 348007549.4 | 348007549.4 | 0 | 200004 | 200004 | 0 | 2016-11-12 12:26 | 6410000000000 | 333300 | 28500 | 51650 | S200W0 | 6 | high_coal_cost | 200 GW | 100-0 | 120374.3518 | 4281.6238 | 4200.0004 | 29104.6614 | 0 | 157960.6375 | 98615.3846 | 256576.0221 | 8048.9333 | 83.6323 | 25.5796 | 34.9241 | 60.5037 | 23.1286 | 23.1286 | 9.992% | 0% | 2.915% | 83.6323 |  | 83.6323 | 25.5796 | 34.9241 | 60.5037 | 23.1286 | 23.1286 | 2709.3487 | 0.68932 | 0.62776 | 0.7779 | 0.19791 | 0.18024 | 10.59% | 10.72% | 10.68% | 25.0731 | 97249.2955 | 107195.8294 | 64.22% | 6.983% | 0.3862% | 84.49% | 0.8859% | 0.0517% | 3.698% | 0.8627% | 0.02377% | 0.000521% | 9.992% | 16.05% | 13.03%
2400429416 | 950462.83 | 33390957.8 | 1974887.48 | 128787887.3 | 30046800 | 507253.34 | 0 | 3482904481 | 886816815.7 | 888594834.6 | 886816815.7 | 0 | 400031 | 400031 | 2016-11-12 17:15 | 5170000000000 | 277200 | 35750 | 91550 | S0W400 | 7 | high_coal_cost | 400 GW | 0-100 | 100113.3223 | 5370.8089 | 7444.5312 | 0 | 71574.5128 | 184503.1751 | 79538.4615 | 264041.6367 | 15514.5479 | 80.7095 | 27.9981 | 35.2167 | 63.2148 | 17.4946 | 17.4946 | 25.46% | 0.2001% | 3.695% |  | 80.548 | 80.548 | 27.9421 | 35.1462 | 63.0883 | 17.4596 | 17.4596 | 2214.1974 | 0.56233 | 0.51241 | 0.63573 | 0.16145 | 0.14712 | 26.93% | 27.17% | 27.1% | 19.009 | 73964.0252 | 81467.8817 | 58.68% | 6.607% | 0.2421% | 68.92% | 0.9587% | 0.0567% | 3.698% | 0.8627% | 0.02729% | 0.01456% | 25.46% | 17.37% | 14.29%
2423377779 | 940630.18 | 34932819.71 | 2936245.23 | 128787887.3 | 30046800 | 482534.64 | 174284144.2 | 3482904481 | 861399785.3 | 862515831 | 687115641.2 | 100079 | 400086 | 300007 | 2016-11-12 20:00 | 5220000000000 | 261360 | 34000 | 97500 | S100W300 | 8 | high_coal_cost | 400 GW | 25-75 | 94392.561 | 5107.9021 | 7928.3647 | 14563.5358 | 53677.9771 | 175670.3408 | 80307.6923 | 255978.0331 | 7450.9443 | 79.2217 | 35.209 | 35.3628 | 70.5718 | 8.6498 | 8.6498 | 24.73% | 0.1294% | 6.604% |  |  | 79.1191 | 35.1634 | 35.3171 | 70.4805 | 8.6386 | 8.6386 | 2236.4619 | 0.5677 | 0.51751 | 0.64213 | 0.163 | 0.14859 | 26.2% | 26.47% | 26.37% | 9.3852 | 36456.2887 | 40201.8152 | 61.32% | 7.128% | 0.3383% | 69.58% | 1.003% | 0.0843% | 3.698% | 0.8627% | 0.02701% | 0.01385% | 24.73% | 18.17% | 21.24%
2455297352 | 1298215.96 | 42381338.18 | 3835196.94 | 128787887.3 | 30046800 | 577742.41 | 345445689.3 | 3482904481 | 820679948.6 | 825174374 | 475234259.4 | 200004 | 400009 | 200005 | 2016-11-12 22:50 | 5370000000000 | 262020 | 41500 | 94500 | S200W200 | 9 | high_coal_cost | 400 GW | 50-50 | 94630.9261 | 6234.6452 | 7684.415 | 29104.6614 | 35785.3777 | 173440.0255 | 82615.3846 | 256055.4101 | 7528.3214 | 79.0686 | 35.5898 | 34.3055 | 69.8954 | 9.1733 | 9.1733 | 23.56% | 0.5447% | 5.315% |  |  | 78.638 | 35.396 | 34.1187 | 69.5147 | 9.1233 | 9.1233 | 2269.6946 | 0.57519 | 0.52467 | 0.65167 | 0.16515 | 0.15064 | 25.1% | 25.5% | 25.35% | 9.8969 | 38234.8749 | 42250.1148 | 62.04% | 7.626% | 0.4557% | 70.5% | 1.217% | 0.1101% | 3.698% | 0.8627% | 0.03727% | 0.01659% | 23.56% | 22.05% | 27.74%
2547046979 | 1371075.25 | 36457314.61 | 3623738.48 | 128787887.3 | 30046800 | 236632.08 | 497398474.6 | 3482904481 | 735334053.9 | 771532273.4 | 237935579.3 | 300014 | 400037 | 100023 | 2016-11-13 01:46 | 5580000000000 | 288420 | 34500 | 80850 | S300W100 | 10 | high_coal_cost | 400 GW | 75-25 | 104165.5282 | 5183.0183 | 6574.444 | 43658.1563 | 17896.3568 | 177477.5036 | 85846.1538 | 263323.6574 | 14796.5687 | 83.7096 | 29.6938 | 33.8935 | 63.5874 | 20.1222 | 20.1222 | 21.11% | 4.692% | 3.877% |  |  | 79.7822 | 28.3007 | 32.3033 | 60.604 | 19.1782 | 19.1782 | 2351.1373 | 0.59668 | 0.54401 | 0.67505 | 0.17132 | 0.15619 | 22.41% | 22.72% | 22.6% | 21.7843 | 84354.7358 | 93154.0499 | 60.81% | 7.373% | 0.5019% | 73.13% | 1.047% | 0.104% | 3.698% | 0.8627% | 0.03937% | 0.006794% | 21.11% | 18.97% | 26.21%
2725565354 | 1545256.41 | 34591286.54 | 2951597.43 | 128787887.3 | 30046800 | 16258.72 | 559400040.4 | 3482904481 | 559400040.4 | 689271559.2 | 0 | 400003 | 400003 | 0 | 2016-11-13 04:15 | 6010000000000 | 327360 | 32750 | 52900 | S400W0 | 11 | high_coal_cost | 400 GW | 100-0 | 118229.0664 | 4920.1116 | 4301.6461 | 58208.5953 | 0 | 185659.4193 | 92461.5385 | 278120.9578 | 29593.869 | 104.0554 | 18.4252 | 32.7274 | 51.1525 | 52.9029 | 52.9029 | 16.06% | 18.84% | 1.567% | 84.4494 |  | 84.4494 | 14.9535 | 26.5609 | 41.5144 | 42.935 | 42.935 | 2513.5379 | 0.63849 | 0.58186 | 0.72168 | 0.18332 | 0.16706 | 17.05% | 17.3% | 17.21% | 57.2605 | 221522.5846 | 244592.5179 | 60.17% | 7.22% | 0.6185% | 78.26% | 0.9932% | 0.08475% | 3.698% | 0.8627% | 0.04437% | 0.0004668% | 16.06% | 17.99% | 21.35%
2059247689 | 1672716.72 | 50053078.03 | 3047022.6 | 128787887.3 | 30046800 | 1105806.8 | 0 | 3482904481 | 1208943481 | 1286680246 | 1208943481 | 0 | 600016 | 600016 | 2016-11-13 04:35 | 4580000000000 | 244860 | 55500 | 101100 | S0W600 | 12 | high_coal_cost | 600 GW | 0-100 | 88433.4347 | 8337.8991 | 8221.1043 | 0 | 107356.3121 | 212348.7502 | 70461.5385 | 282810.2886 | 34283.1999 | 88.8018 | 27.1025 | 33.3413 | 60.4438 | 28.358 | 28.358 | 34.71% | 6.042% | 2.97% |  | 83.4367 | 83.4367 | 25.4651 | 31.3269 | 56.792 | 26.6447 | 26.6447 | 1910.0745 | 0.48242 | 0.44039 | 0.54841 | 0.13851 | 0.12644 | 36.97% | 37.52% | 37.34% | 30.602 | 118353.9674 | 130620.5975 | 54.09% | 7.378% | 0.3388% | 59.12% | 1.437% | 0.08749% | 3.698% | 0.8627% | 0.04803% | 0.03175% | 34.71% | 26.04% | 22.04%
2031250015 | 1839597.71 | 55973641.6 | 5871352.61 | 128787887.3 | 30046800 | 1372004.96 | 247382018 | 3482904481 | 1227763181 | 1267252346 | 980381163.2 | 150088 | 600096 | 450008 | 2016-11-13 00:01 | 4550000000000 | 218460 | 52500 | 120200 | S150W450 | 13 | high_coal_cost | 600 GW | 25-75 | 78898.8326 | 7887.2018 | 9774.2506 | 21840.8653 | 80516.5184 | 198917.6687 | 70000 | 268917.6687 | 20390.58 | 83.369 | 33.555 | 33.2061 | 66.7611 | 16.6079 | 16.6079 | 35.25% | 3.116% | 4.686% |  |  | 80.7711 | 32.5094 | 32.1714 | 64.6807 | 16.0904 | 16.0904 | 1888.858 | 0.47587 | 0.43508 | 0.54232 | 0.13663 | 0.12492 | 37.67% | 38.37% | 38.1% | 17.8628 | 68836.443 | 76150.6395 | 56.8% | 8.583% | 0.5504% | 58.32% | 1.607% | 0.1686% | 3.698% | 0.8627% | 0.05282% | 0.03939% | 35.25% | 29.12% | 42.47%
2117282096 | 2449096.81 | 60107050.81 | 8080999.34 | 128787887.3 | 30046800 | 1522174.94 | 485492400.2 | 3482904481 | 1134628376 | 1207988452 | 649135975.9 | 300012 | 600019 | 300007 | 2016-11-12 16:46 | 4810000000000 | 225720 | 59500 | 107650 | S300W300 | 14 | high_coal_cost | 600 GW | 50-50 | 81520.8482 | 8938.8287 | 8753.7278 | 43657.8653 | 53677.9771 | 196549.2471 | 74000 | 270549.2471 | 22022.1583 | 85.7865 | 33.971 | 32.4064 | 66.3774 | 19.4091 | 19.4091 | 32.58% | 6.073% | 4.402% |  |  | 80.5768 | 31.908 | 30.4384 | 62.3464 | 18.2304 | 18.2304 | 1971.2793 | 0.49603 | 0.45391 | 0.56599 | 0.14242 | 0.13032 | 34.95% | 35.76% | 35.42% | 20.7935 | 79773.2547 | 88462.8886 | 58.17% | 8.425% | 0.8446% | 60.79% | 1.726% | 0.232% | 3.698% | 0.8627% | 0.07032% | 0.0437% | 32.58% | 31.27% | 58.46%
2360165784 | 2073257.81 | 43139370.34 | 5752836.97 | 128787887.3 | 30046800 | 535103.14 | 575570892.6 | 3482904481 | 912403442 | 1142202955 | 336832549.6 | 450047 | 600057 | 150010 | 2016-11-12 10:42 | 5240000000000 | 265980 | 44250 | 90550 | S450W150 | 15 | high_coal_cost | 600 GW | 75-25 | 96061.1164 | 6647.7844 | 7363.2146 | 65491.018 | 26840.1516 | 202403.285 | 80615.3846 | 283018.6696 | 34491.5808 | 101.1956 | 30.3438 | 33.0488 | 63.3926 | 37.803 | 37.803 | 26.2% | 20.12% | 3.083% |  |  | 80.836 | 24.2389 | 26.3997 | 50.6386 | 30.1974 | 30.1974 | 2184.7508 | 0.55291 | 0.50477 | 0.62728 | 0.15875 | 0.14493 | 27.9% | 28.39% | 28.18% | 40.7887 | 157367.4177 | 174128.5153 | 59.12% | 7.44% | 0.7128% | 67.76% | 1.239% | 0.1652% | 3.698% | 0.8627% | 0.05953% | 0.01536% | 26.2% | 22.44% | 41.62%
2665741992 | 1746965.87 | 35664568.5 | 3549588.54 | 128787887.3 | 30046800 | 17365.44 | 617349313.1 | 3482904481 | 617349313.1 | 1026500345 | 0 | 600051 | 600051 | 0 | 2016-11-12 04:43 | 5910000000000 | 324720 | 34250 | 53800 | S600W0 | 16 | high_coal_cost | 600 GW | 100-0 | 117275.6061 | 5145.4602 | 4374.831 | 87319.6596 | 0 | 214115.5569 | 90923.0769 | 305038.6339 | 56511.5451 | 141.4429 | 17.7565 | 32.1474 | 49.9039 | 91.539 | 91.539 | 17.73% | 39.86% | 1.085% | 85.0654 |  | 85.0654 | 10.679 | 19.3338 | 30.0128 | 55.0526 | 55.0526 | 2459.7538 | 0.62448 | 0.56925 | 0.70624 | 0.1793 | 0.16344 | 18.83% | 19.12% | 19.01% | 99.0366 | 382856.0261 | 422999.3712 | 59.15% | 7.245% | 0.7317% | 76.54% | 1.024% | 0.1019% | 3.698% | 0.8627% | 0.05016% | 0.0004986% | 17.73% | 18.55% | 25.68%
3298162783.85 | 168410.11 | 24273457.9 | 1465141.96 | 128787887.33 | 30046800 | 0 | 0 | 3482904481 | 0 | 0 | 0 | 0 | 0 | 0 | 2016-11-17 11:51 | 7197031998390 | 419760 | 0 | 0 | S0W0 | 17 | all_coal | 0 GW | 0-0 | 58770.637 | 0 | 0 | 0 | 0 | 58770.637 | 110723.5692 | 169494.2062 |  | 0 | [5 empty] | 0 |  | 0 | [8 empty] | 3031.4464 | 0.77261 | 0.70326 | 0.87038 | 0.22183 | 0.20192 | 0% | 0% | -0.008417% | 0 |  |  | 61.77% | 12.63% | 10.6% | 94.7% | 0.6969% | 0.04207% | 3.698% | 0.8627% | 0.004835% | 0% | 0% | 12.63% | 10.6%
2832814844.7 | 170082.15 | 12763607.41 | 1154435.01 | 128787887.33 | 30046800 | 0 | 0 | 3482904481 | 477166824.57 | 477166824.564 | 477166824.57 | 0 | 200005 | 200005 | 2016-11-14 01:28 | 6025798525090 | 409200 | 0 | 0 | S0W200 | 18 | all_coal | 200 GW | 0-100 | 57292.1304 | 0 | 0 | 0 | 35785.3777 | 93077.5081 | 92704.5927 | 185782.1008 | 16287.8946 | 74.9955 | 3.0985 | 37.7624 | 40.8609 | 34.1346 | 34.1346 | 13.7% | -1.257e-09% | 5.28% |  | 74.9955 | 74.9955 | 3.0985 | 37.7624 | 40.8609 | 34.1346 | 34.1346 | 2600.275 | 0.6636 | 0.6038 | 0.74658 | 0.19053 | 0.17336 | 14.22% | 14.11% | 14.13% | 37.7759 | 149407.7602 | 163769.3304 | 53.99% | 6.64% | 8.351% | 81.33% | 0.3665% | 0.03315% | 3.698% | 0.8627% | 0.004883% | 0% | 13.7% | 6.64% | 8.351%
2855948550.47 | 170222.83 | 11929415.32 | 1199837.01 | 128787887.33 | 30046800 | 0 | 87844246.67 | 3482904481 | 454821767.92 | 454821767.967 | 366977521.2 | 50015 | 200025 | 150010 | 2016-11-15 05:19 | 6073764021600 | 400620 | 0 | 0 | S50W150 | 19 | all_coal | 200 GW | 25-75 | 56090.8438 | 0 | 0 | 7278.2026 | 26840.1516 | 90209.198 | 93442.5234 | 183651.7214 | 14157.5152 | 75.0148 | 5.892 | 37.9952 | 43.8872 | 31.1276 | 31.1276 | 13.06% | 1.033e-08% | 9.569% |  |  | 75.0148 | 5.892 | 37.9952 | 43.8872 | 31.1276 | 31.1276 | 2621.1357 | 0.66902 | 0.60872 | 0.75257 | 0.19209 | 0.17477 | 13.54% | 13.41% | 13.44% | 34.5044 | 136658.3598 | 149745.6616 | 55.22% | 6.206% | 8.68% | 82% | 0.3425% | 0.03445% | 3.698% | 0.8627% | 0.004887% | 0% | 13.06% | 6.206% | 8.68%
2882282542.47 | 174181.49 | 13264753.97 | 1130474.23 | 128787887.33 | 30046800 | 0 | 175038224.01 | 3482904481 | 427217841.44 | 427217841.337 | 252179617.28 | 100079 | 200102 | 100023 | 2016-11-14 03:03 | 6144962726690 | 403920 | 0 | 0 | S100W100 | 20 | all_coal | 200 GW | 50-50 | 56552.8771 | 0 | 0 | 14563.5358 | 17896.3568 | 89012.7697 | 94537.8881 | 183550.6578 | 14056.4516 | 75.9797 | 5.1912 | 37.8862 | 43.0774 | 32.9023 | 32.9023 | 12.27% | -2.411e-08% | 7.916% |  |  | 75.9797 | 5.1912 | 37.8862 | 43.0774 | 32.9023 | 32.9023 | 2645.7724 | 0.67519 | 0.61435 | 0.75965 | 0.19386 | 0.17639 | 12.72% | 12.61% | 12.64% | 36.4465 | 144274.9113 | 158092.1373 | 55.42% | 6.9% | 8.178% | 82.76% | 0.3809% | 0.03246% | 3.698% | 0.8627% | 0.005001% | 0% | 12.27% | 6.9% | 8.178%
2913283975.02 | 188928.01 | 16536678.06 | 1114651.77 | 128787887.33 | 30046800 | 0 | 261665558.16 | 3482904481 | 392945560.43 | 392945560.504 | 131280002.53 | 150010 | 200039 | 50029 | 2016-11-15 07:00 | 6243136381380 | 407880 | 0 | 0 | S150W50 | 21 | all_coal | 200 GW | 75-25 | 57107.3171 | 0 | 0 | 21829.5147 | 8951.3095 | 87888.1414 | 96048.252 | 183936.3934 | 14442.1871 | 78.3336 | 4.233 | 37.3469 | 41.5799 | 36.7537 | 36.7537 | 11.28% | 1.883e-08% | 5.939% |  |  | 78.3336 | 4.233 | 37.3469 | 41.5799 | 36.7537 | 36.7537 | 2675.5428 | 0.68245 | 0.62103 | 0.76819 | 0.19594 | 0.17831 | 11.74% | 11.67% | 11.68% | 40.5789 | 160177.1906 | 175636.1956 | 55.65% | 8.603% | 8.064% | 83.65% | 0.4748% | 0.032% | 3.698% | 0.8627% | 0.005424% | 0% | 11.28% | 8.603% | 8.064%
2954612607.24 | 276955.82 | 20026909.51 | 1145771.52 | 128787887.33 | 30046800 | 0 | 348007549.39 | 3482904481 | 348007549.39 | 348007549.414 | 0 | 200004 | 200004 | 0 | 2016-11-14 04:45 | 6378564216570 | 413160 | 0 | 0 | S200W0 | 22 | all_coal | 200 GW | 100-0 | 57846.5704 | 0 | 0 | 29104.6614 | 0 | 86951.2318 | 98131.7572 | 185082.989 | 15588.7828 | 83.6323 | 2.6553 | 36.1826 | 38.8379 | 44.7944 | 44.7944 | 9.992% | 6.896e-09% | 3.3% | 83.6323 |  | 83.6323 | 2.6553 | 36.1826 | 38.8379 | 44.7944 | 44.7944 | 2714.9516 | 0.69213 | 0.62993 | 0.77951 | 0.19872 | 0.18086 | 10.44% | 10.42% | 10.42% | 49.2545 | 193697.5121 | 212585.9331 | 55.94% | 10.42% | 8.289% | 84.83% | 0.575% | 0.0329% | 3.698% | 0.8627% | 0.007952% | 0% | 9.992% | 10.42% | 8.289%
2426952813.2 | 227935.15 | 9196401.87 | 962297.93 | 128787887.33 | 30046800 | 0 | 0 | 3482904471.22 | 886730335.73 | 888594834.626 | 886730335.73 | 0 | 400031 | 400031 | 2016-11-13 19:54 | 5092230644560 | 404580 | 0 | 0 | S0W400 | 23 | all_coal | 400 GW | 0-100 | 56645.2838 | 0 | 0 | 0 | 71574.5128 | 128219.7966 | 78342.0099 | 206561.8065 | 37067.6003 | 80.7173 | 2.3968 | 36.5179 | 38.9148 | 41.8026 | 41.8026 | 25.46% | 0.2098% | 3.795% |  | 80.548 | 80.548 | 2.3918 | 36.4413 | 38.8331 | 41.7149 | 41.7149 | 2227.0466 | 0.56852 | 0.51724 | 0.63942 | 0.16323 | 0.14851 | 26.54% | 26.42% | 26.44% | 46.0811 | 181621.7031 | 199272.4774 | 46.62% | 4.784% | 6.961% | 69.68% | 0.264% | 0.02763% | 3.698% | 0.8627% | 0.006544% | 0% | 25.46% | 4.784% | 6.961%
2452716176.98 | 232667.36 | 8841457.95 | 921746.01 | 128787887.33 | 30046800 | 0 | 174330643.92 | 3482904481 | 861357745.27 | 862515830.985 | 687027101.36 | 100079 | 400086 | 300007 | 2016-11-15 01:39 | 5129407752410 | 392700 | 0 | 0 | S100W300 | 24 | all_coal | 400 GW | 25-75 | 54981.9639 | 0 | 0 | 14563.5358 | 53677.9771 | 123223.4768 | 78913.9654 | 202137.4422 | 32643.236 | 79.2255 | 4.3985 | 36.9296 | 41.3281 | 37.8974 | 37.8974 | 24.73% | 0.1343% | 6.764% |  |  | 79.1191 | 4.3926 | 36.88 | 41.2726 | 37.8465 | 37.8465 | 2250.4667 | 0.57456 | 0.52271 | 0.64615 | 0.16496 | 0.15008 | 25.76% | 25.63% | 25.67% | 41.7978 | 164816.8961 | 180804.074 | 48.07% | 4.599% | 6.668% | 70.42% | 0.2539% | 0.02646% | 3.698% | 0.8627% | 0.00668% | 0% | 24.73% | 4.599% | 6.668%
2491769470.13 | 369991.21 | 10375924.04 | 984928.36 | 128787887.33 | 30046800 | 0 | 345557349.85 | 3482904481 | 820569479.73 | 825174373.967 | 475012129.93 | 200004 | 400009 | 200005 | 2016-11-13 21:40 | 5244792604100 | 397980 | 0 | 0 | S200W200 | 25 | all_coal | 400 GW | 50-50 | 55721.2172 | 0 | 0 | 29104.6614 | 35785.3777 | 120611.2563 | 80689.117 | 201300.3733 | 31806.1671 | 79.0793 | 3.7162 | 36.602 | 40.3182 | 38.7611 | 38.7611 | 23.56% | 0.5581% | 5.445% |  |  | 78.638 | 3.6955 | 36.3977 | 40.0932 | 38.5448 | 38.5448 | 2287.0278 | 0.58371 | 0.53108 | 0.65664 | 0.16759 | 0.15248 | 24.56% | 24.45% | 24.48% | 42.7262 | 168368.4007 | 184729.9397 | 48.4% | 5.398% | 7.125% | 71.54% | 0.2979% | 0.02828% | 3.698% | 0.8627% | 0.01062% | 0% | 23.56% | 5.398% | 7.125%
2571893665 | 707880.06 | 16767481.71 | 1368774.36 | 128787887.33 | 30046800 | 0 | 498078039.98 | 3482904437.48 | 733331949.1 | 771532273.397 | 235253908.96 | 300014 | 400037 | 100023 | 2016-11-15 03:44 | 5507521240560 | 403920 | 0 | 0 | S300W100 | 26 | all_coal | 400 GW | 75-25 | 56552.8771 | 0 | 0 | 43658.1563 | 17896.3568 | 118107.3902 | 84731.096 | 202838.4862 | 33344.28 | 83.9381 | 3.0242 | 35.4443 | 38.4686 | 45.4696 | 45.4696 | 21.06% | 4.951% | 3.96% |  |  | 79.7822 | 2.8745 | 33.6894 | 36.5639 | 43.2183 | 43.2183 | 2363.6138 | 0.60248 | 0.54838 | 0.67863 | 0.17298 | 0.15745 | 22.03% | 22.02% | 22.02% | 49.9291 | 195988.2725 | 215295.1691 | 49.45% | 8.723% | 9.902% | 73.84% | 0.4814% | 0.0393% | 3.698% | 0.8627% | 0.02032% | 0% | 21.06% | 8.723% | 9.902%
2743307415.32 | 806061.23 | 21914209.82 | 1457177.85 | 128787887.33 | 30046800 | 0 | 556584881.32 | 3482904432.88 | 556584881.32 | 689271559.155 | 0 | 400003 | 400003 | 0 | 2016-11-13 23:52 | 5971518698120 | 413160 | 0 | 0 | S400W0 | 27 | all_coal | 400 GW | 100-0 | 57846.5704 | 0 | 0 | 58208.5953 | 0 | 116055.1657 | 91869.5184 | 207924.6841 | 38430.4779 | 104.5817 | 1.6602 | 33.8745 | 35.5348 | 69.0469 | 69.0469 | 15.98% | 19.25% | 1.65% | 84.4494 |  | 84.4494 | 1.3406 | 27.3536 | 28.6942 | 55.7552 | 55.7552 | 2522.8855 | 0.64264 | 0.58504 | 0.72436 | 0.18451 | 0.16797 | 16.78% | 16.82% | 16.8% | 75.5671 | 295672.3275 | 325069.1122 | 51.94% | 11.4% | 10.54% | 78.76% | 0.6292% | 0.04184% | 3.698% | 0.8627% | 0.02314% | 0% | 15.98% | 11.4% | 10.54%
2107582855.93 | 281361.65 | 7892398.8 | 815062.48 | 128787887.33 | 30046800 | 0 | 0 | 3482904481 | 1207498114.69 | 1286680245.75 | 1207498114.69 | 0 | 600016 | 600016 | 2016-11-13 14:02 | 4416433094140 | 401280 | 0 | 0 | S0W600 | 28 | all_coal | 600 GW | 0-100 | 56183.2505 | 0 | 0 | 0 | 107356.3121 | 163539.5626 | 67945.1245 | 231484.6871 | 61990.4809 | 88.9081 | 2.1428 | 35.4273 | 37.5701 | 51.338 | 51.338 | 34.67% | 6.154% | 3.08% |  | 83.4367 | 83.4367 | 2.0109 | 33.2471 | 35.258 | 48.1786 | 48.1786 | 1933.9986 | 0.49371 | 0.44917 | 0.55528 | 0.14175 | 0.12896 | 36.2% | 36.1% | 36.12% | 56.486 | 222263.0973 | 243973.8987 | 40.71% | 4.106% | 5.896% | 60.51% | 0.2266% | 0.0234% | 3.698% | 0.8627% | 0.008078% | 0% | 34.67% | 4.106% | 5.896%
2088824925.05 | 363499.31 | 7436832.59 | 791809.77 | 128787887.33 | 30046800 | 0 | 244600918.24 | 3482904477.08 | 1226652722.99 | 1267252345.65 | 982051804.6 | 150088 | 600096 | 450008 | 2016-11-14 21:37 | 4331822736460 | 390720 | 0 | 0 | S150W450 | 29 | all_coal | 600 GW | 25-75 | 54704.7439 | 0 | 0 | 21840.8653 | 80516.5184 | 157062.1276 | 66643.4267 | 223705.5543 | 54211.3481 | 83.4445 | 3.3146 | 35.9353 | 39.2499 | 44.1945 | 44.1945 | 35.22% | 3.204% | 4.839% |  |  | 80.7711 | 3.2084 | 34.784 | 37.9925 | 42.7787 | 42.7787 | 1916.6824 | 0.48931 | 0.44516 | 0.55031 | 0.14049 | 0.12781 | 36.77% | 36.67% | 36.69% | 48.6303 | 191356.5056 | 210042.3282 | 41.08% | 3.869% | 5.728% | 59.97% | 0.2135% | 0.02273% | 3.698% | 0.8627% | 0.01044% | 0% | 35.22% | 3.869% | 5.728%
2183607358.37 | 698757.92 | 10375628.11 | 1104718.67 | 128787887.33 | 30046800 | 0 | 477885609.89 | 3482904443.57 | 1128283293.39 | 1207988451.8 | 650397683.53 | 300012 | 600019 | 300007 | 2016-11-13 16:05 | 4580651183470 | 392700 | 0 | 0 | S300W300 | 30 | all_coal | 600 GW | 50-50 | 54981.9639 | 0 | 0 | 43657.8653 | 53677.9771 | 152317.8063 | 70471.5567 | 222789.3629 | 53295.1567 | 86.269 | 3.3579 | 35.6754 | 39.0334 | 47.2356 | 47.2356 | 32.39% | 6.598% | 4.51% |  |  | 80.5768 | 3.1363 | 33.3215 | 36.4579 | 44.1189 | 44.1189 | 2005.1876 | 0.51152 | 0.46548 | 0.57572 | 0.14687 | 0.13365 | 33.85% | 33.79% | 33.81% | 51.9315 | 204121.6907 | 224136.6774 | 42.8% | 5.398% | 7.992% | 62.7% | 0.2979% | 0.03172% | 3.698% | 0.8627% | 0.02006% | 0% | 32.39% | 5.398% | 7.992%
2400001478.47 | 759605.8 | 16233613.74 | 1327009.68 | 128787887.33 | 30046800 | 0 | 593029918.29 | 3482904453.21 | 905748058.14 | 1142202955.26 | 312718139.77 | 450047 | 600057 | 150010 | 2016-11-14 23:59 | 5125430476500 | 400620 | 0 | 0 | S450W150 | 31 | all_coal | 600 GW | 75-25 | 56090.8438 | 0 | 0 | 65491.018 | 26840.1516 | 148422.0134 | 78852.7766 | 227274.7899 | 57780.5837 | 101.9391 | 2.9587 | 35.1873 | 38.1459 | 63.7932 | 63.7932 | 26.01% | 20.7% | 3.19% |  |  | 80.836 | 2.3462 | 27.9029 | 30.2491 | 50.587 | 50.587 | 2206.0021 | 0.56221 | 0.51176 | 0.63338 | 0.16142 | 0.14693 | 27.23% | 27.23% | 27.22% | 69.9994 | 274622.2431 | 301720.3417 | 46.41% | 8.445% | 9.6% | 68.91% | 0.4661% | 0.0381% | 3.698% | 0.8627% | 0.02181% | 0% | 26.01% | 8.445% | 9.6%
2686916300.37 | 904644.74 | 22097749.59 | 1477096.15 | 128787887.33 | 30046800 | 0 | 612673972.17 | 3482904450.37 | 612673972.17 | 1026500345.34 | 0 | 600051 | 600051 | 0 | 2016-11-13 18:14 | 5860492300960 | 413160 | 0 | 0 | S600W0 | 32 | all_coal | 600 GW | 100-0 | 57846.5704 | 0 | 0 | 87319.6596 | 0 | 145166.23 | 90161.42 | 235327.65 | 65833.4438 | 142.5222 | 1.5083 | 33.5613 | 35.0696 | 107.4527 | 107.4527 | 17.59% | 40.31% | 1.1% | 85.0654 |  | 85.0654 | 0.90021 | 20.0313 | 20.9315 | 64.1339 | 64.1339 | 2471.4187 | 0.62943 | 0.57304 | 0.70959 | 0.18072 | 0.16453 | 18.47% | 18.53% | 18.51% | 117.5539 | 459775.5596 | 505544.5123 | 50.87% | 11.5% | 10.69% | 77.15% | 0.6345% | 0.04241% | 3.698% | 0.8627% | 0.02597% | 0% | 17.59% | 11.5% | 10.69%
3297834894.09 | 174795.26 | 24580659 | 1479445.42 | 128787887.33 | 30046800 | 0 | 0 | 3482904481 | 0 | 0 | 0 | 0 | 0 | 0 | 2016-11-16 02:37 | 7197347667370 | 390060 | 0 | 29600 | S0W0 | 33 | low_coal_cost | 0 GW | 0-0 | 54612.3372 | 0 | 2406.9702 | 0 | 0 | 57019.3074 | 110728.4257 | 167747.7331 |  | 0 | [5 empty] | 0 |  | 0 | [8 empty] | 3031.29 | 0.77254 | 0.7032 | 0.87033 | 0.22181 | 0.2019 | 0% | 0% | 0% | 0 |  |  | 64.93% | 12.79% | 0.5417% | 94.69% | 0.7058% | 0.04248% | 3.698% | 0.8627% | 0.005019% | 0% | 0% | 12.79% | 10.7%
2831949136.75 | 185403.09 | 13558140.89 | 1210288.52 | 128787887.33 | 30046800 | 0 | 0 | 3482904481 | 477166824.57 | 477166824.564 | 477166824.57 | 0 | 200005 | 200005 | 2016-11-16 07:10 | 6027861029720 | 351780 | 0 | 57450 | S0W200 | 34 | low_coal_cost | 200 GW | 0-100 | 49252.7508 | 0 | 4671.6364 | 0 | 35785.3777 | 89709.765 | 92736.3235 | 182446.0885 | 14698.3554 | 74.9955 | 6.486 | 37.7061 | 44.1921 | 30.8034 | 30.8034 | 13.7% | -1.257e-09% | 5.215% |  | 74.9955 | 74.9955 | 6.486 | 37.7061 | 44.1921 | 30.8034 | 30.8034 | 2599.8653 | 0.6634 | 0.60365 | 0.74646 | 0.19047 | 0.17332 | 14.23% | 14.13% | 14.16% | 34.0693 | 134671.8814 | 147647.0674 | 59.7% | 7.053% | 0.2341% | 81.31% | 0.3893% | 0.03475% | 3.698% | 0.8627% | 0.005323% | 0% | 13.7% | 7.053% | 8.755%
2854859888.18 | 212456.78 | 12917703.43 | 1257977.3 | 128787887.33 | 30046800 | 0 | 87844246.67 | 3482904481 | 454821767.92 | 454821767.967 | 366977521.2 | 50015 | 200025 | 150010 | 2016-11-16 09:14 | 6076549315640 | 343860 | 0 | 57100 | S50W150 | 35 | low_coal_cost | 200 GW | 25-75 | 48143.8709 | 0 | 4643.1756 | 7278.2026 | 26840.1516 | 86905.4007 | 93485.3741 | 180390.7748 | 12643.0417 | 75.0148 | 9.3053 | 37.9117 | 47.217 | 27.7978 | 27.7978 | 13.06% | 1.033e-08% | 9.349% |  |  | 75.0148 | 9.3053 | 37.9117 | 47.217 | 27.7978 | 27.7978 | 2620.627 | 0.66876 | 0.60852 | 0.75243 | 0.19201 | 0.17472 | 13.55% | 13.43% | 13.46% | 30.7869 | 121830.6475 | 133534.4436 | 61.07% | 6.72% | 0.2447% | 81.97% | 0.3709% | 0.03612% | 3.698% | 0.8627% | 0.0061% | 0% | 13.06% | 6.72% | 9.1%
2880866952.07 | 245290.44 | 14533062.16 | 1206647.49 | 128787887.33 | 30046800 | 0 | 175038224.01 | 3482904481 | 427217841.44 | 427217841.337 | 252179617.28 | 100079 | 200102 | 100023 | 2016-11-16 11:21 | 6148367660690 | 345180 | 0 | 58300 | S100W100 | 36 | low_coal_cost | 200 GW | 50-50 | 48328.6842 | 0 | 4740.7555 | 14563.5358 | 17896.3568 | 85529.3323 | 94590.2717 | 180119.604 | 12371.8709 | 75.9797 | 9.2456 | 37.775 | 47.0206 | 28.9592 | 28.9592 | 12.27% | -2.411e-08% | 8.086% |  |  | 75.9797 | 9.2456 | 37.775 | 47.0206 | 28.9592 | 28.9592 | 2645.1176 | 0.67485 | 0.61409 | 0.75946 | 0.19376 | 0.17632 | 12.74% | 12.64% | 12.67% | 32.0372 | 126654.1985 | 138840.79 | 61.48% | 7.56% | 0.23% | 82.71% | 0.4173% | 0.03464% | 3.698% | 0.8627% | 0.007043% | 0% | 12.27% | 7.56% | 8.729%
2912092622.64 | 258813.76 | 17600214.35 | 1172582.16 | 128787887.33 | 30046800 | 0 | 261665558.16 | 3482904481 | 392945560.43 | 392945560.504 | 131280002.53 | 150010 | 200039 | 50029 | 2016-11-16 13:25 | 6245341926630 | 357720 | 0 | 49950 | S150W50 | 37 | low_coal_cost | 200 GW | 75-25 | 50084.4108 | 0 | 4061.7622 | 21829.5147 | 8951.3095 | 84926.9973 | 96082.1835 | 181009.1808 | 13261.4477 | 78.3336 | 7.3118 | 37.273 | 44.5847 | 33.7488 | 33.7488 | 11.28% | 1.883e-08% | 5.994% |  |  | 78.3336 | 7.3118 | 37.273 | 44.5847 | 33.7488 | 33.7488 | 2674.9944 | 0.68217 | 0.62082 | 0.76804 | 0.19586 | 0.17825 | 11.75% | 11.7% | 11.72% | 37.2204 | 146753.4492 | 160971.0768 | 60.72% | 9.156% | 0.2598% | 83.61% | 0.5053% | 0.03367% | 3.698% | 0.8627% | 0.007431% | 0% | 11.28% | 9.156% | 8.483%
2953760147.48 | 304169.23 | 20819977.24 | 1177949.97 | 128787887.33 | 30046800 | 0 | 348007549.39 | 3482904481 | 348007549.39 | 348007549.414 | 0 | 200004 | 200004 | 0 | 2016-11-16 15:24 | 6379780929460 | 377520 | 0 | 35650 | S200W0 | 38 | low_coal_cost | 200 GW | 100-0 | 52856.6107 | 0 | 2898.9354 | 29104.6614 | 0 | 84860.2075 | 98150.4758 | 183010.6833 | 15262.9502 | 83.6323 | 3.6314 | 36.1427 | 39.7742 | 43.8581 | 43.8581 | 9.992% | 6.896e-09% | 3.245% | 83.6323 |  | 83.6323 | 3.6314 | 36.1427 | 39.7742 | 43.8581 | 43.8581 | 2714.5482 | 0.69193 | 0.62977 | 0.77939 | 0.19867 | 0.18082 | 10.45% | 10.43% | 10.44% | 48.1874 | 189360.6442 | 207871.1393 | 59.44% | 10.83% | 0.3612% | 84.81% | 0.5978% | 0.03382% | 3.698% | 0.8627% | 0.008733% | 0% | 9.992% | 10.83% | 8.521%
2425128178.67 | 261169.11 | 10818279.66 | 1051942.06 | 128787887.33 | 30046800 | 1139.25 | 0 | 3482904481 | 886809084.9 | 888594834.626 | 886809084.9 | 0 | 400031 | 400031 | 2016-11-15 14:43 | 5095737779470 | 335940 | 0 | 68250 | S0W400 | 39 | low_coal_cost | 400 GW | 0-100 | 47034.991 | 0 | 5549.8553 | 0 | 71574.5128 | 124159.359 | 78395.9658 | 202555.3249 | 34807.5918 | 80.7102 | 5.0005 | 36.4593 | 41.4598 | 39.2504 | 39.2504 | 25.46% | 0.201% | 3.867% |  | 80.548 | 80.548 | 4.9904 | 36.3861 | 41.3765 | 39.1715 | 39.1715 | 2226.1438 | 0.5681 | 0.51691 | 0.63916 | 0.16311 | 0.14841 | 26.56% | 26.46% | 26.49% | 43.2314 | 170256.6161 | 186850.9396 | 52.66% | 5.628% | 0.172% | 69.63% | 0.3106% | 0.0302% | 3.698% | 0.8627% | 0.007499% | 3.271e-05% | 25.46% | 5.628% | 7.61%
2448457828.68 | 363521.16 | 12770115.32 | 1075006.18 | 128787887.33 | 30046800 | 2945.78 | 174164766.01 | 3482904481 | 861400376.68 | 862515830.985 | 687235610.67 | 100079 | 400086 | 300007 | 2016-11-15 18:09 | 5136999300690 | 316800 | 0 | 76100 | S100W300 | 40 | low_coal_cost | 400 GW | 25-75 | 44355.1978 | 0 | 6188.1903 | 14563.5358 | 53677.9771 | 118784.9009 | 79030.7585 | 197815.6594 | 30067.9263 | 79.2216 | 7.5179 | 36.7978 | 44.3157 | 34.9059 | 34.9059 | 24.73% | 0.1293% | 6.689% |  |  | 79.1191 | 7.5082 | 36.7502 | 44.2584 | 34.8607 | 34.8607 | 2248.4287 | 0.57356 | 0.52194 | 0.64556 | 0.16468 | 0.14986 | 25.83% | 25.76% | 25.78% | 38.4077 | 151113.6883 | 165881.2933 | 55.18% | 6.643% | 0.158% | 70.3% | 0.3667% | 0.03087% | 3.698% | 0.8627% | 0.01044% | 8.458e-05% | 24.73% | 6.643% | 7.777%
2488338884.12 | 491502.91 | 13426454.96 | 1150033.02 | 128787887.33 | 30046800 | 976.5 | 346048832.83 | 3482904481 | 820661942.05 | 825174373.967 | 474613109.31 | 200004 | 400009 | 200005 | 2016-11-15 20:49 | 5251550286010 | 324720 | 0 | 73600 | S200W200 | 41 | low_coal_cost | 400 GW | 50-50 | 45464.0777 | 0 | 5984.8989 | 29104.6614 | 35785.3777 | 116339.0157 | 80793.0813 | 197132.0971 | 29384.364 | 79.0704 | 6.7876 | 36.4771 | 43.2647 | 35.8057 | 35.8057 | 23.56% | 0.5468% | 5.335% |  |  | 78.638 | 6.7505 | 36.2776 | 43.0281 | 35.6099 | 35.6099 | 2285.3772 | 0.5829 | 0.53046 | 0.65617 | 0.16736 | 0.1523 | 24.61% | 24.55% | 24.56% | 39.3938 | 154953.9842 | 170109.2478 | 55.21% | 6.985% | 0.1746% | 71.44% | 0.3855% | 0.03302% | 3.698% | 0.8627% | 0.01411% | 2.804e-05% | 23.56% | 6.985% | 8.32%
2569840272.48 | 761808.67 | 18226313.82 | 1550813.19 | 128787887.33 | 30046800 | 0 | 490038785.05 | 3482904481 | 733690585.42 | 771532273.397 | 243651800.19 | 300014 | 400037 | 100023 | 2016-11-15 23:20 | 5510969224770 | 342540 | 0 | 61400 | S300W100 | 42 | low_coal_cost | 400 GW | 75-25 | 47959.0576 | 0 | 4992.8368 | 43658.1563 | 17896.3568 | 114506.4075 | 84784.1419 | 199290.5494 | 31542.8163 | 83.8971 | 5.5438 | 35.3613 | 40.9051 | 42.992 | 42.992 | 21.07% | 4.905% | 3.93% |  |  | 79.7822 | 5.2719 | 33.627 | 38.8988 | 40.8833 | 40.8833 | 2362.5082 | 0.602 | 0.54802 | 0.67832 | 0.17284 | 0.15734 | 22.06% | 22.07% | 22.07% | 47.1646 | 184961.4516 | 203260.4113 | 55.11% | 9.482% | 0.2811% | 73.78% | 0.5233% | 0.04453% | 3.698% | 0.8627% | 0.02187% | 0% | 21.07% | 9.482% | 11.22%
2741357080.64 | 949601.62 | 22478305.37 | 1788257.69 | 128787887.33 | 30046800 | 0 | 557496548.03 | 3482904481 | 557496548.03 | 689271559.155 | 0 | 400003 | 400003 | 0 | 2016-11-16 05:04 | 5972187559820 | 376860 | 0 | 36400 | S400W0 | 43 | low_coal_cost | 400 GW | 100-0 | 52764.204 | 0 | 2959.9228 | 58208.5953 | 0 | 113932.7221 | 91879.8086 | 205812.5307 | 38064.7976 | 104.4107 | 2.3232 | 33.8094 | 36.1326 | 68.2781 | 68.2781 | 16.01% | 19.12% | 1.6% | 84.4494 |  | 84.4494 | 1.8791 | 27.3457 | 29.2248 | 55.2247 | 55.2247 | 2521.6647 | 0.64218 | 0.5847 | 0.72401 | 0.18438 | 0.16788 | 16.81% | 16.87% | 16.85% | 74.6917 | 292006.2411 | 321209.1817 | 55.23% | 11.69% | 0.5375% | 78.71% | 0.6454% | 0.05134% | 3.698% | 0.8627% | 0.02726% | 0% | 16.01% | 11.69% | 12.94%
2102801484.8 | 371178.6 | 10818844.43 | 1161892.6 | 128787887.33 | 30046800 | 3401.47 | 0 | 3482904481 | 1208912991.78 | 1286680245.75 | 1208912991.78 | 0 | 600016 | 600016 | 2016-11-17 09:14 | 4421314917710 | 323400 | 0 | 77400 | S0W600 | 44 | low_coal_cost | 600 GW | 0-100 | 45279.2644 | 0 | 6293.9018 | 0 | 107356.3121 | 158929.4783 | 68020.2295 | 226949.7078 | 59201.9747 | 88.804 | 4.505 | 35.3278 | 39.8328 | 48.9712 | 48.9712 | 34.71% | 6.044% | 3.143% |  | 83.4367 | 83.4367 | 4.2327 | 33.1925 | 37.4253 | 46.0114 | 46.0114 | 1931.1478 | 0.49259 | 0.44829 | 0.55446 | 0.14143 | 0.12871 | 36.29% | 36.24% | 36.25% | 53.813 | 211475.7723 | 232249.6339 | 46.78% | 5.628% | 0.1679% | 60.37% | 0.3106% | 0.03336% | 3.698% | 0.8627% | 0.01066% | 9.766e-05% | 34.71% | 5.628% | 8.405%
2081843231.16 | 583022.07 | 12619164.58 | 1287583.58 | 128787887.33 | 30046800 | 8056.14 | 245463346.65 | 3482904481 | 1227728736.17 | 1267252345.65 | 982265389.38 | 150088 | 600096 | 450008 | 2016-11-17 06:42 | 4343986829510 | 299640 | 0 | 91550 | S150W450 | 45 | low_coal_cost | 600 GW | 25-75 | 41952.6245 | 0 | 7444.5312 | 21840.8653 | 80516.5184 | 151754.5394 | 66830.5666 | 218585.106 | 50837.3729 | 83.3713 | 6.2083 | 35.7553 | 41.9637 | 41.4077 | 41.4077 | 35.25% | 3.119% | 4.744% |  |  | 80.7711 | 6.0147 | 34.6402 | 40.6549 | 40.1162 | 40.1162 | 1912.9689 | 0.48768 | 0.4439 | 0.54925 | 0.14002 | 0.12745 | 36.89% | 36.87% | 36.87% | 45.4587 | 178467.622 | 196056.2094 | 48.56% | 6.565% | 0.1578% | 59.77% | 0.3623% | 0.03697% | 3.698% | 0.8627% | 0.01674% | 0.0002313% | 35.25% | 6.565% | 9.315%
2177466039.09 | 835873.77 | 14010289.33 | 1849048.52 | 128787887.33 | 30046800 | 2945.78 | 477980609.11 | 3482904481 | 1129905597.08 | 1207988451.8 | 651924987.92 | 300012 | 600019 | 300007 | 2016-11-17 03:58 | 4591087245580 | 306900 | 0 | 85650 | S300W300 | 46 | low_coal_cost | 600 GW | 50-50 | 42969.0978 | 0 | 6964.7635 | 43657.8653 | 53677.9771 | 147269.7037 | 70632.1115 | 217901.8151 | 50154.082 | 86.1451 | 6.2708 | 35.4864 | 41.7573 | 44.3879 | 44.3879 | 32.44% | 6.464% | 4.518% |  |  | 80.5768 | 5.8655 | 33.1926 | 39.0581 | 41.5187 | 41.5187 | 2001.6805 | 0.51008 | 0.4644 | 0.57472 | 0.14645 | 0.13334 | 33.97% | 33.97% | 33.96% | 48.7117 | 191096.9293 | 210025.5837 | 50.05% | 7.288% | 0.242% | 62.52% | 0.4023% | 0.05309% | 3.698% | 0.8627% | 0.024% | 8.458e-05% | 32.44% | 7.288% | 13.38%
2395646130.94 | 937917.14 | 17804207.76 | 2025977.75 | 128787887.33 | 30046800 | 0 | 580873832.39 | 3482904481 | 907655559.91 | 1142202955.26 | 326781727.59 | 450047 | 600057 | 150010 | 2016-11-17 00:53 | 5129288777070 | 331980 | 0 | 68550 | S450W150 | 47 | low_coal_cost | 600 GW | 75-25 | 46480.551 | 0 | 5574.2503 | 65491.018 | 26840.1516 | 144385.9708 | 78912.135 | 223298.1058 | 55550.3727 | 101.7249 | 5.4696 | 35.0533 | 40.5229 | 61.202 | 61.202 | 26.06% | 20.53% | 3.188% |  |  | 80.836 | 4.3464 | 27.8552 | 32.2016 | 48.6344 | 48.6344 | 2203.2649 | 0.5612 | 0.51099 | 0.63259 | 0.16113 | 0.14671 | 27.32% | 27.36% | 27.33% | 67.0878 | 262845.8583 | 289014.7593 | 52.42% | 9.262% | 0.3298% | 68.78% | 0.5112% | 0.05817% | 3.698% | 0.8627% | 0.02693% | 0% | 26.06% | 9.262% | 14.66%
2683453299.03 | 1214485.97 | 22658452.52 | 2103048.55 | 128787887.33 | 30046800 | 0 | 614640507.42 | 3482904481 | 614640507.42 | 1026500345.34 | 0 | 600051 | 600051 | 0 | 2016-11-16 17:59 | 5860558492610 | 376200 | 0 | 37100 | S600W0 | 48 | low_coal_cost | 600 GW | 100-0 | 52671.7973 | 0 | 3016.8444 | 87319.6596 | 0 | 143008.3013 | 90162.4383 | 233170.7397 | 65423.0066 | 142.0662 | 2.1649 | 33.4602 | 35.6251 | 106.4411 | 106.4411 | 17.65% | 40.12% | 1.06% | 85.0654 |  | 85.0654 | 1.2963 | 20.0351 | 21.3314 | 63.734 | 63.734 | 2469.1343 | 0.62862 | 0.57243 | 0.70893 | 0.18049 | 0.16435 | 18.55% | 18.63% | 18.6% | 116.3788 | 454580.2414 | 500272.8248 | 54.13% | 11.79% | 0.6207% | 77.05% | 0.6506% | 0.06038% | 3.698% | 0.8627% | 0.03487% | 0% | 17.65% | 11.79% | 15.21%
Note on BW1: Ranjit: This assumes that all electricity is generated by existing generators
Note on BA2: Ranjit: revise based on India coal numbers
Note on BB2: Ranjit: revise based on India coal numbers
Note on BD2: Ranjit: revise based on India coal numbers
Note on BE2: Ranjit: revise based on India coal numbers
Note on BG2: Ranjit: revise based on India coal numbers
Note on BH2: Ranjit: revise based on India coal numbers
Note on BJ2: Ranjit: revise based on India coal numbers
Note on BK2: Ranjit: revise based on India coal numbers

## Renewables
Financial parameters
Renewables |  |  |  |  | 10% reduction |  | 20% reduction
| Wind | Solar PV | Wind | Solar PV | Wind | Solar PV | Wind | Solar PV
Capital cost (USD/kW) | 1230 | 1030 | 1230 | 1030 | 1107 | 927 | 984 | 824
Discount Factor | 10.8% | 10.8%
Plant Life (yrs) | 25 | 25
O&M (USD/kW) | 35 | 25
CRF | 0.11701 | 0.11701
Annualized cost (USD/kW/year) | 178.9224 | 145.5204

## Conventional
Screening curves |  |  | INR per USD |  | 65
|  |  | lbs per kg |  | 2.2
|  |  | GJ per MMBTU |  | 1.055
|  |  | Btu per kcal |  | 3.9657
Fuel cost (Rangan's article)
Coal (INR/GJ) | 170
Coal (USD/GJ) | 2.6154
Coal Calorific value (kcal/kg) | 3900
Coal Calorific value (GJ/tonne) | 16.3176
Coal (INR/tonne) | 2773.992
Coal (USD/tonne) | 42.6768
Coal (kg/kWh) | 0.60581 | 0.61 - IESS coal and gas power stations GoI
Coal (kcal/kWh) | 2375 | CERC 2014
NG (INR/GJ) | 240
NG (USD/GJ) | 3.6923
LNG (USD/MMBTU) - FERC | 10.7 | FERC - 5.57 landed in India - https://www.ferc.gov/market-oversight/mkt-gas/overview/ngas-ovr-lng-wld-pr-est.pdf | 12.7 - Indonesian LNG in Japan - source IMF - Quarterly average from 2014 Q1 to 2016 Q2 ; 10.7 - Indonesian LNG in Japan - IMF - average of medium term commodity baseline that includes past baseline data from 2009 to 2016, and future projections till 2021
NG heat rate - CT (kcal/kWh) | 3000 | CERC 2014 average
NG heat rate - CCGT (kcal/kWh) | 2000 | CERC 2014 average
NG heat rate - CT (Btu/kWh) | 10390 | B&V average
NG heat rate - CCGT (Btu/kWh) | 6705 | B&V average
source: http://cercind.gov.in/2014/regulation/reg21.pdf
source: B&V 2012
| CT | CCGT | High Coal | Low Coal | source |  |  | CT | CCGT | Coal
Capital cost (USD/kW) | 650 | 1230 | 2890 | 1000 | B&V - 2890 coal cost is too high |  | Capital cost (INR/kW) | 42250 | 79950 | 187850
Fixed O&M (USD/kW-y) | 5.26 | 6.31 | 23 | 23 |  |  | Fixed O&M (INR/kW-y) | 341.9 | 410.15 | 1495
Variable O&M (USD/MWh) | 29.9 | 3.67 | 3.71 | 3.71 |  |  | Variable O&M (INR/MWh) | 1943.5 | 238.55 | 241.15
Heat Rate (Btu/kWh) | 11897.01 | 7931.34 | 9370 | 9370 | B&V
Minimum load | 50% | 50% | 55% | 55% | CERC
Emissions CO2 (lbs/mmbtu) | 117 | 117 | 215 | 215 | B&V
Emissions SO2 (lbs/mmbtu) | 0.0002 | 0.0002 | 0.055 | 0.055 | B&V
Emissions Nox (lbs/mmbtu) | 0.033 | 0.0073 | 0.05 | 0.05 | B&V |  | 807.6923
PM10 (lbs/mmbtu) | 0.006 | 0.0058 | 0.011 | 0.011 | B&V |  | 551.6923
Emissions CO2 (tonnes/MWh) | 0.6327 | 0.4218 | 0.9157 | 0.9157 | 0.82 | Diesel (See HR spreadsheet and http://blueskymodel.org/kilowatt-hour)
Emissions SO2 (kg/MWh) | 0.0010815 | 0.00072103 | 0.23425 | 0.23425
Emissions Nox (kg/MWh) | 0.17846 | 0.026318 | 0.21295 | 0.21295
PM10 (kg/MWh) | 0.032446 | 0.02091 | 0.04685 | 0.04685
Auxillary consumption | 1% | 2.5% | 10% | 10%
Discount rate | 10.8% | 10.8% | 10.8% | 10.8% | CERC
Plant life | 25 | 25 | 25 | 25 | CERC 2014
CRF | 0.11701 | 0.11701 | 0.11701 | 0.11701
Annualized fixed costs (USD/kW-y) | 81.3166 | 150.2324 | 361.1592 | 140.0101
Annualized fixed costs (INR/kW-y) | 5285.5765 | 9765.107 | 23475.3461 | 9100.6561 |  | 0.6607 | 1.2206 | 2.9344
Variable cost (USD/MWh) | 158.7859 | 90.8055 | 33.1435 | 33.1435
Variable cost (INR/MWh) | 10321.0813 | 5902.3559 | 2154.3268 | 2154.3268
Breakeven Capacity Factor | 11.57% | 41.76%
Breakeven Capacity Factor-only coal CT | 5.333%
Existing conventional | MW
CT | 1578
CCGT | 21944
Coal | 189749
Diesel | 2211
Other | 1880
Note on B6: Ranjit: http://cornerstonemag.net/coal-based-electricity-generation-in-india/
Note on A8: Ranjit: Sub-bituminous http://www.industry.gov.au/Office-of-the-Chief-Economist/Publications/Documents/Coal-in-India.pdf
Note on B15: Ranjit: http://cornerstonemag.net/coal-based-electricity-generation-in-india/
Note on B17: Ranjit: multiple sources
Note on D27: Ranjit: This aligns with CERC's USD 22.4/kW
Note on E27: Ranjit: This aligns with CERC's USD 22.4/kW
Note on C29: Ranjit: Slightly lower than CERC's 7920. But there are some plants in CERC's reg that have heat rates as low as 7300 Btu/kWh
Note on D29: Ranjit: This B&V number matched CERC 2014 numbers
Note on E29: Ranjit: This B&V number matched CERC 2014 numbers
Note on B30: Ranjit: Key difference between CT vs CCGT/coal is that it can start stop during the day.
Note on D30: Ranjit: India's regulation. B&V 's was 40%.
Note on E30: Ranjit: India's regulation. B&V 's was 40%.

## gen_costs
technology | cost_type | coalHC | coalLC | coalLC_solarLC20p | coalLC_windLC20p | coalLC_windLC20p
ct | capital | 650 | 650 | 650 | 650 | 650
ccgt | capital | 1230 | 1230 | 1230 | 1230 | 1230
coal | capital | 2890 | 1000 | 1000 | 1000 | 1000
wind | capital | 1230 | 1230 | 1230 | 984 | 984
solarPV | capital | 1030 | 1030 | 824 | 1030 | 824
ct | om | 5.26 | 5.26 | 5.26 | 5.26 | 5.26
ccgt | om | 6.31 | 6.31 | 6.31 | 6.31 | 6.31
coal | om | 23 | 23 | 23 | 23 | 23
wind | om | 35 | 35 | 35 | 35 | 35
solarPV | om | 25 | 25 | 25 | 25 | 25

## screening curve
hours | coal | ccgt | ct
0 | 140010.0939 | 150232.4155 | 81316.561
1000 | 173153.5831 | 241037.8904 | 240102.4267
4000 | 272584.0505 | 513454.315 | 716460.0237
8760 | 430347.0587 | 945688.3754 | 1472280.7442
Low Cost Coal
hour | value | technology
0 | 140010.0939 | Coal
8760 | 430347.0587 | Coal
0 | 150232.4155 | CCGT-LNG
8760 | 945688.3754 | CCGT-LNG
0 | 81316.561 | CT-LNG
8760 | 1472280.7442 | CT-LNG
High Cost Coal

## emissions
technology | co2_tonnes_mwh
ct | 0.6327
ccgt | 0.4218
coal | 0.9157
diesel | 0.82

## existing_gen
technology | capacity_MW
coal | 189749
gas_ccgt | 21944
gas_ct | 1579
diesel | 2211
hydro_storage | 23673
hydro_pondage | 4707
hydro_ror | 14436
nuclear | 6860
other | 1880