## results_all_scenarios_test
ann_charge_bat_storage_MWh | ann_curt_vre_MWh | ann_discharge_bat_storage_MWh | ann_gen_coal_MWh | ann_gen_diesel_MWh | ann_gen_gas_ccgt_MWh | ann_gen_gas_ct_MWh | ann_gen_hydro_MWh | ann_gen_nuclear_MWh | ann_gen_other_MWh | ann_gen_solarPV_MWh | ann_gen_total_MWh | ann_gen_vre_MWh | ann_gen_vre_nocurt_MWh | ann_gen_wind_MWh | capacity_bat_storage_MW | capacity_solarPV_MW | capacity_vre_MW | capacity_wind_MW | date_time | dispatch_cost | energy_bat_storage_MWh | new_capacity_coal_MW | new_capacity_gas_ccgt_MW | new_capacity_gas_ct_MW | scenario
|  |  | 3701448.62 | 3646.46 | 14089.55 | 3641.19 | 235890.62 | 82320 | 0 | 810876.43 | 6096661 | 2055624.56 | 825174374 | 1244748.13 |  | 200004 | 400009 | 200005 | 2017-12-18 16:40 | 6977796613 |  | 107580 | 0 | 34200 | S200W200_lowCapCostCoal_70min
-115350.9 |  | 112280.71 | 7676442.83 | 5484.57 | 67367.54 | 15310.59 | 471434.77 | 164640 | 0 | 1738830.38 | 12243576.18 | 3842895.87 | 825174374 | 2104065.49 | 10000 | 200004 | 400009 | 200005 | 2018-01-02 21:45 | 14708495173 | 10000 | 107580 | 0 | 34200 | S200W200_lowCapCostCoal_70min_test
-100000 |  | 85434.98 | 7895555.25 | 691.2 | 86190.45 | 451.8 | 367726.64 | 164640 | 0 | 1727947.7 | 12255071.02 | 3739815.67 | 825174374 | 2011867.97 | 10000 | 200004 | 400009 | 200005 | 2018-01-02 23:24 | 32055329018 | 10000 | 107580 | 0 | 34200 | S200W200_lowCapCostCoal_70min_test2
-115350.9 | 122823 | 112280.71 | 7676442.83 | 5484.57 | 67367.54 | 15310.59 | 471434.77 | 164640 | 0 | 1738830.38 | 12243576.18 | 3842895.87 | 825174374 | 2104065.49 | 10000 | 200004 | 400009 | 200005 | 2018-01-03 15:19 | 14708495173 | 40000 | 107580 | 0 | 34200 | S200W200_lowCapCostCoal_70min_test3
-100000 | 225904 | 104303.1 | 7876419.89 | 691.2 | 85936.65 | 451.8 | 368247.68 | 164640 | 0 | 1727947.7 | 12236202.9 | 3739815.67 | 3965718 | 2011867.97 | 10000 | 200004 | 400009 | 200005 | 2018-01-03 16:24 | 15178990125 | 40000 | 107580 | 0 | 34200 | S200W200_lowCapCostCoal_70min_test4
-100000 | 228046 | 84700.9 | 7903060 | 691.2 | 86177.44 | 459.9 | 363106.04 | 164640 | 0 | 1716287.65 | 12255805.1 | 3737670.52 | 3965718 | 2021382.87 | 10000 | 200004 | 400009 | 200005 | 2018-01-03 16:59 | 15232893005 | 40000 | 107580 | 0 | 34200 | S200W200_lowCapCostCoal_70min_test5
-114000.9 | 125847 | 91200.71 | 7701238.03 | 5484.57 | 67494.44 | 13142.49 | 471434.77 | 164640 | 0 | 1736562.38 | 12263306.18 | 3839871.87 | 3965718 | 2103309.49 | 10000 | 200004 | 400009 | 200005 | 2018-01-03 17:07 | 14747387631 | 40000 | 107580 | 0 | 34200 | S200W200_lowCapCostCoal_70min_test6_nolookahead
-114000.9 | 125847 | 91200.71 | 7701238.03 | 5484.57 | 67494.44 | 13142.49 | 471434.77 | 164640 | 0 | 1736562.38 | 12263306.18 | 3839871.87 | 3965718 | 2103309.49 | 10000 | 200004 | 400009 | 200005 | 2018-01-03 17:20 | 14747387631 | 40000 | 107580 | 0 | 34200 | S200W200_lowCapCostCoal_70min_test7_nolookahead_battery
0 | 254123 | 0 | 7775049.64 | 7511.26 | 76798.18 | 33478.3 | 471434.77 | 164640 | 0 | 1658974.94 | 12240506 | 3711593.84 | 3965718 | 2052618.9 | 10000 | 200004 | 400009 | 200005 | 2018-01-03 17:23 | 15113855095 | 40000 | 107580 | 0 | 34200 | S200W200_lowCapCostCoal_70min_test8_nolookahead_nobattery
0 | 355266 | 0 | 7987915.81 | 2825.01 | 90582.91 | 2393.04 | 381694.72 | 164640 | 0 | 1650463.71 | 12240506 | 3610454.52 | 3965718 | 1959990.82 | 10000 | 200004 | 400009 | 200005 | 2018-01-03 17:29 | 15470524561 | 40000 | 107580 | 0 | 34200 | S200W200_lowCapCostCoal_70min_test9_lookahead_nobattery
-100000 | 228046 | 84700.9 | 7903060 | 691.2 | 86177.44 | 459.9 | 363106.04 | 164640 | 0 | 1716287.65 | 12255805.1 | 3737670.52 | 3965718 | 2021382.87 | 10000 | 200004 | 400009 | 200005 | 2018-01-03 17:35 | 15232893004.7 | 40000 | 107580 | 0 | 34200 | S200W200_lowCapCostCoal_70min_test10_lookahead_battery
-56063434.32 | 35492596 | 44846894.42 | 1457548953.7 | 386413.78 | 26891653.99 | 2140206.44 | 129073905.58 | 30046800 | 0 | 323280901.09 | 2435769721.88 | 789681788.38 | 825174368 | 466400887.41 | 30000 | 200004 | 400009 | 200005 | 2018-01-08 22:36 | 2893011833480 | 120000 | 99000 | 0 | 21200 | S200W200_lowCapCostCoal_70min_test15_battery30_lookahead
-55377067.29 | 34114188 | 44301653.83 | 1455752245.68 | 433140.49 | 27476116.26 | 2072204.06 | 128787887.33 | 30046800 | 0 | 325008080.96 | 2435628595.46 | 791060201.73 | 825174368 | 466052120.88 | 30000 | 200004 | 400009 | 200005 | 2018-01-09 01:47 | 2896351532350 | 120000 | 97680 | 0 | 26400 | S200W200_lowCapCostCoal_70min_test15_battery30_nolookahead
-686367.03 | 1378408 | 545240.59 | 1796708.02 | -46726.71 | -584462.27 | 68002.38 | 286018.25 |  |  | -1727179.87 | 141126.42 |  | 35492579.62 | [6 empty] | -3339698870
0.012394 | 0.040406 | 0.012307 | 0.0012342 | -0.10788 | -0.021272 | 0.032816 | 0.0022208 |  |  | -0.0053143 | 5.7943e-05 |  | 34114166.27 | [6 empty] | -0.0011531
0.0016705
2435150853.86
-0.00019615