## Lazard
CA Peaker replacement case study from Lazard 2017
[9 empty] | EPC % of capital cost | 15%
Project Life | 20 | [7 empty] | OM annual cost | 1.425% | of epc after 2 years of warranty
MW | 100 | [7 empty] | OM escalation | 2.25%
hours | 4 | [7 empty] | Charging escalation | 0.9%
MWh capacity | 400 | [7 empty] | Augmentation cost % of BESS | 3.3% | Only storage module costs
100% DOD Cycles/day | 1 | [7 empty] | Extended warranty % of BESS | 1.5%
Days/year | 350
efficiency | 85%
Annual MWh | 140000 | [8 empty] | Cost in $ |  | Cost in $ '000 |  |  | Cost in $ '000 |  | Cost in $ '000
Project MWh | 2800000 | [8 empty] | NPV per kW | NPV per kWh | Lifetime NPV 100/400 | Annual per kW | Annual per kWh | Annual 100/400 | % | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
discount rate | 10.58% | [7 empty] | EPC | 207.84 | 51.96 | 20784 | 25.3795 | 6.3449 | 2537.9487 | 8.591% | Cost in $ '000 0: 20784
CRF | 0.12211 | [7 empty] | Storage module cost (DC) | 976 | 244 | 97600 | 119.18 | 29.795 | 11918.0037 | 40.34% | Cost in $ '000 0: 97600
[9 empty] | Inverter/ AC system capital (AC) | 111.67 | 27.9175 | 11167 | 13.6361 | 3.409 | 1363.6101 | 4.616% | Cost in $ '000 0: 11167
| Lazarad 3.0 |  | RD Analysis Scenarios | [5 empty] | Balance of system capital (DC) | 409.6 | 102.4 | 40960 | 50.0165 | 12.5041 | 5001.654 | 16.93% | Cost in $ '000 0: 40960
| Low | High | Sc1 | Sc2 | Sc3 | Sc4 | Sc5 | Sc6 | Total capital cost | 1705.11 | 426.2775 | 170511 | 208.2122 | 52.053 | 20821.2165 | 70.48% | 170511
Capital Cost $/kWh | 385 | 489 | 400 | 300 | 250 | 200 | 150 | 100 | OM | 224.6184 | 56.1546 | 22461.8437 | 27.4283 | 6.8571 | 2742.8313 | 9.285% |  | 2364.1748 | 2417.3687 | 2471.7595 | 2527.3741 | 2584.24 | 2642.3854 | 2701.8391 | 2762.6304 | 2824.7896 | 2888.3474 | 2953.3352 | 3019.7852 | 3087.7304 | 3157.2043 | 3228.2414 | 3300.8769 | 3375.1466 | 3451.0874 | 3528.7369 | 3608.1334
Capital Cost $/kW | 1540 | 1956 | 1600 | 1200 | 1000 | 800 | 600 | 400 | Warranty | 182.0267 | 45.5067 | 18202.6701 | 22.2274 | 5.5569 | 2222.7407 | 7.524% |  |  |  | 2302 | 2302 | 2302 | 2302 | 2302 | 2302 | 2302 | 2302 | 2302 | 2302 | 2302 | 2302 | 2302 | 2302 | 2302 | 2302 | 2302 | 2302
Debt % | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | Augmentation costs | 263.7753 | 65.9438 | 26377.5253 | 32.2098 | 8.0524 | 3220.9779 | 10.9% |  | 3220.8 | 3221 | 3221 | 3221 | 3221 | 3221 | 3221 | 3221 | 3221 | 3221 | 3221 | 3221 | 3221 | 3221 | 3221 | 3221 | 3221 | 3221 | 3221 | 3221
Debt $/kW | 308 | 391.2 | 320 | 240 | 200 | 160 | 120 | 80 | Charging costs | 76.8129 | 19.2032 | 7681.2888 | 9.3797 | 2.3449 | 937.9675 | 3.175% |  | 885 | 892.965 | 901.0017 | 909.1107 | 917.2927 | 925.5483 | 933.8783 | 942.2832 | 950.7637 | 959.3206 | 967.9545 | 976.6661 | 985.4561 | 994.3252 | 1003.2741 | 1012.3036 | 1021.4143 | 1030.607 | 1039.8825 | 1049.2414
Debt interest | 8% | 8% | [6 empty] | Total variable costs | 714.0787 | 178.5197 | 71407.8689 | 87.1966 | 21.7992 | 8719.6644 | 29.52% |  | 6469.9748 | 6531.3337 | 8895.7612 | 8959.4848 | 9024.5327 | 9090.9337 | 9158.7173 | 9227.9136 | 9298.5533 | 9370.668 | 9444.2897 | 9519.4513 | 9596.1865 | 9674.5295 | 9754.5155 | 9836.1804 | 9919.5609 | 10004.6944 | 10091.6194 | 10180.3749 | bar: RD Analysis Scenarios Sc1 to RD Analysis Scenarios Sc6
Equity % | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | Total variable costs w/o charging costs | 637.2658 | 159.3165 | 63726.58 | 77.817 | 19.4542 | 7781.6969 | 26.34% |  | 5584.9748 | 5638.3687 | 7994.7595 | 8050.3741 | 8107.24 | 8165.3854 | 8224.8391 | 8285.6304 | 8347.7896 | 8411.3474 | 8476.3352 | 8542.7852 | 8610.7304 | 8680.2043 | 8751.2414 | 8823.8769 | 8898.1466 | 8974.0874 | 9051.7369 | 9131.1334
Equity $/kW | 1232 | 1564.8 | 1280 | 960 | 800 | 640 | 480 | 320 | Total costs with charging | 2419.1887 | 604.7972 | 241918.8689 | 295.4088 | 73.8522 | 29540.8809 | 100%
Equity interest | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | Total costs without charging costs | 2342.3758 | 585.594 | 234237.58 | 286.0291 | 71.5073 | 28602.9134 | 96.82%
Tax rate | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39%
O&M annual cost % | 0.63% | 0.63% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5%
O&M annual cost ($/kWh-y) | 2.4255 | 3.0807 | 6 | 4.5 | 3.75 | 3 | 2.25 | 1.5
Warranty expense ($) | 2676 | 2676 | 2400 | 1800 | 1500 | 1200 | 900 | 600 | [6 empty] | 272.4494
Warranty expense ($/kWh-y) | 6.69 | 6.69 | 6 | 4.5 | 3.75 | 3 | 2.25 | 1.5 |  | From Lazard 2.0, replacement costs are $189-338 per kWh at year 10.
Augmentation charge ($) | 8029 | 8029 | 5280 | 3960 | 3300 | 2640 | 1980 | 1320 |  | Low | High
Augmentation charge ($/kWh-y) | 20.0725 | 20.0725 | 13.2 | 9.9 | 8.25 | 6.6 | 4.95 | 3.3 | Replacement costs at year 10 ($/kWh) | 189 | 338
Charging cost ($/MWh) | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | PV of replacement or augmentation | 69.1597 | 338
[9 empty] | Annual augmentation ($/kWh-y) | 8.4451 | 41.2734 | The lower end is similar to the CAISO example from 3.0. That is much lower than the LCOS table from 3.0.
Assumed Cycles/year | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | OM costs ($/kWh-y) | 6 | 12 | These are higher than 3.0, but similar to CAISO examples $7/kWh-y OM costs
Annual cost w/o charging cost ($/kWh-y) | 76.2006 | 89.5553 | 74.0443 | 55.5332 | 46.2777 | 37.0221 | 27.7666 | 18.5111 | Warranty costs | 0 | 0 | No warranty costs were included in 2.0
Annual cost with charging cost ($/kWh-y) | 86.7006 | 100.0553 | 84.5443 | 66.0332 | 56.7777 | 47.5221 | 38.2666 | 29.0111
Annual cost w/o charging cost ($/kW-y) | 304.8025 | 358.2213 | 296.1771 | 222.1328 | 185.1107 | 148.0886 | 111.0664 | 74.0443
Annual cost with charging cost ($/kW-y) | 346.8025 | 400.2213 | 338.1771 | 264.1328 | 227.1107 | 190.0886 | 153.0664 | 116.0443
LCOS w/o charging cost ($/MWh) | 256.1365 | 301.0263 | 248.8883 | 186.6662 | 155.5552 | 124.4442 | 93.3331 | 62.2221
LCOS with charging cost ($/MWh) | 291.4306 | 336.3204 | 284.1824 | 221.9604 | 190.8493 | 159.7383 | 128.6272 | 97.5162
Peaker replacement average wholesale price assumed for charging | 29.5
Battery cost model #1
Reverse engineer fixed costs based on above economics using particular discount rate
Discount rate | 7%
CRF | 0.094393
O&M annual cost ($/kWh-y) |  |  | 6 | 4.5 | 3.75 | 3 | 2.25 | 1.5
Annual cost w/o charging cost ($/kWh-y) w higher Lazard discount rate |  |  | 74.0443 | 55.5332 | 46.2777 | 37.0221 | 27.7666 | 18.5111
Capital cost ($/kWh) (includes warranty & augmentation) |  |  | 720.862 | 540.6465 | 450.5388 | 360.431 | 270.3233 | 180.2155
Capital cost ($/kW) (includes warranty & augmentation) |  |  | 2883.4482 | 2162.5861 | 1802.1551 | 1441.7241 | 1081.2931 | 720.862
O&M annual cost ($/kW-y) |  |  | 24 | 18 | 15 | 12 | 9 | 6
Annual cost w/o charging cost ($/kW-y) |  |  | 296.1771 | 222.1328 | 185.1107 | 148.0886 | 111.0664 | 74.0443
Battery cost model #2
Capital Cost $/kWh |  |  | 400 | 300 | 250 | 200 | 150 | 100
Capital Cost $/kW |  |  | 1600 | 1200 | 1000 | 800 | 600 | 400
O&M annual cost % |  |  | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5%
O&M annual cost ($/kWh-y) |  |  | 6 | 4.5 | 3.75 | 3 | 2.25 | 1.5
O&M annual cost ($/kW-y) |  |  | 24 | 18 | 15 | 12 | 9 | 6
Extended warranty % of BESS |  |  | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5%
Warranty expense ($/kWh-y) |  |  | 6 | 4.5 | 3.75 | 3 | 2.25 | 1.5
Warranty expense ($/kW-y) |  |  | 24 | 18 | 15 | 12 | 9 | 6
Augmentation cost % of BESS |  |  | 3.3% | 3.3% | 3.3% | 3.3% | 3.3% | 3.3%
Augmentation charge ($/kWh-y) |  |  | 13.2 | 9.9 | 8.25 | 6.6 | 4.95 | 3.3
Augmentation charge ($/kW-y) |  |  | 52.8 | 39.6 | 33 | 26.4 | 19.8 | 13.2
O&M annual cost incl warranty & augmentation ($/kWh-y) |  |  | 25.2 | 18.9 | 15.75 | 12.6 | 9.45 | 6.3
O&M annual cost incl warranty & augmentation ($/kW-y) |  |  | 100.8 | 75.6 | 63 | 50.4 | 37.8 | 25.2
Annual cost w/o charging cost ($/kWh-y) |  |  | 62.9572 | 47.2179 | 39.3482 | 31.4786 | 23.6089 | 15.7393
Annual cost w/o charging cost ($/kW-y) |  |  | 251.8287 | 188.8715 | 157.3929 | 125.9143 | 94.4358 | 62.9572
Note on A32: Ranjit: from EIA 2016 With a 0.9% escalation
Note on B41: Ranjit: Almost matches Lazard's 3.0 table

## notes
Notes
Lazard costs:
Levelized cost of storage assumes 350 days of operation with a 100% depth of discharge
But CA peaker replacement case study assumes only 91 full cycles based on probably a dispatch model using CAISO's 2016 LMP prices.